## WU Ramp-Up Checklist - COVID
WashU EH&S Research Ramp-Up Checklist - COVID
OVERVIEW: This checklist is intended to aid research teams with planning of ramp-up of research operations. This Checklist should be used in conjunction with the Guidelines for Development of Laboratory-Specific Plans for Transitioning Between Research Levels. Please note that this checklist focuses on COVID-specific ramp-up considerations. Ensure you also utilize the tab titled "WU Ramp-Up Checklist - Standard" for other important safety considerations for ramp-up. Please contact EH&S with any questions. INSTRUCTIONS: Research teams returning to work on campus must: • Develop a Laboratory-Specific Plan for Ramp-Up and Submit for Department Approval • Notify pertinent University Compliance Offices (EH&S, IBC, IACUC, ...) and Division of Comparative Medicine of restart of operations • Remove the Notice of Laboratory Ramp-Down Sign on entrances to the laboratory • Update your Laboratory-Specific Plan for Ramp-Up, as necessary
CATEGORY | ITEM | COMPLETE (YES/NO/NA) | NOTES
PRELIMINARY ACTIONS
Review and become familiar with COVID-19 return-to-work procedures and resources.
Complete required COVID-19 Return-To-Work Training in Learn@Work.
Develop Laboratory-Specific Plan for Ramp-Up and Submit for Department Approval.
Review and update Lab-Specific Continuity Plan ("ramp-down"). Prepare lab for reinfection/second wave of the virus. Plan experiments with this in mind. Bringing the lab back on line must be reversible.
If members of the lab have contracted COVID-19 or been quarantined, have they been cleared to return to work per University requirements?
Plan for lab members being uncomfortable with return to work. Contact HR for assistance.
Determine at risk lab members and have a plan for them to work safely.
Clean and disinfect lab and commonly touched surfaces before work resumes. Follow guidance provided in the Lab Housekeeping Appendix in the Guidelines.
PREPARE
Written Procedures | Consider developing an entry/exit log for future contact-tracing, should it be necessary.
Define tasks if staffing is reduced due to illness.
Does Lab-Specific Ramp-Up Plan addresses project planning? • Order supplies ahead of time, schedule each step so you know who/when staff need to work in the lab • Plan for best and worst case scenarios or if experiments need to be repeated • Do data analysis outside of lab
Verify Lab-Specific Ramp-Up Plan includes: • Instructions for enhanced cleaning and disinfection of lab benches and shared spaces and equipment • Steps to take if a lab member becomes symptomatic or tests positive • Protocol to address lone worker scenarios • Physical distancing strategies
Physical Distancing | Implement physical distancing requirements per Lab-Specific Plan. This could include: • Continue to conduct work remotely when feasible • Staggering project start dates • Scheduling shifts to minimize personnel in the lab at any one time • Stagger work days, consider creating work teams that do not overlap in space and time • Set-up a Google work shift or other calendar to determine staff member shifts/leave out the guess work. Plan in lunch breaks.
Map out lab space used by researchers and determine the number of occupants per square foot permitted during a shift as well as occupants as research levels change. See Lab Space and Scheduling Appendix in the Guidelines.
Determine occupancy and rules for common rooms/shared equipment. How many people can be in the area and how cleaning/sanitizing practices are used?
Screening | Ensure personnel complete the required daily screening.
Staff should check their temperature, at a minimum, once per day before coming to campus, either at home or at a check point (at the medical school)
COMMUNICATIONS
Communicate enhanced cleaning practices for lab equipment and surfaces.
Communicate physical distancing requirements within lab and shared office spaces. Ensure lab personnel understand Department requirements for break rooms, restrooms, stairs and other.
Post physical distancing and hygiene signage in visible areas.
Communicate which tasks are considered high risk and postpone them if possible.
RESEARCH MATERIALS
Restock standard lab PPE (lab coats, safety glasses, goggles, and gloves). Notify Department or Resource Management if PPE is not available.
What core facilities will be used and are they up and running? Ensure lab personnel follow any new procedures mandated by the core facilities.
Plan for potential supply chain delays and limited availability of standard lab supplies.
Please contact EH&S if you need assistance.

## WU Ramp-Up Checklist - Standard
WashU EH&S Research Ramp-Up Checklist
OVERVIEW: This checklist is intended to aid research teams with planning of ramp-up of research operations. Not all listed items may apply to your specific research operations. Please contact EH&S with any questions. INSTRUCTIONS: Research teams returning to work on campus must: • Develop a Laboratory-Specific Plan for Ramp-Up and Submit for Department Approval • Notify pertinent University Compliance Offices (EH&S, IBC, IACUC, ...) and Division of Comparative Medicine of restart of operations • Remove the Notice of Laboratory Ramp-Down Sign on entrances to the laboratory • Update your Laboratory-Specific Plan for Ramp-Up, as necessary
CATEGORY | ITEM | COMPLETE (YES/NO/NA) | NOTES
PREPARE
Training | Review required training. Are lab members up to date on training? • Lab Health and Safety Training • Clinical Health and Safety Training • BBP • Lab-Specific Training • Shipping Training • Radiation Safety Training
Review emergency evacuation procedures and emergency meeting points for lab.
Are lab members due for respirator fit testing, if applicable? If yes, contact EH&S. Please note respirator use should be evaluated by EH&S.
Documentation | Renew or amend IBC protocol if expired or for changes in research and staffing.
Renew or amend IACUC protocol, as necessary.
Schedule IACUC animal use inspection prior to restart of animal activities, if you did not conduct your regularly scheduled inspection during alternate operations.
Review Radioactive Material (RAM) Authorization requirements as needed.
Review Laser Authorization requirements as needed.
Complete area surveys, if due, for RAM use.
Written Procedures | Review existing lab-specific written procedures and update as needed.
Review Hazard Assessment (Appendix 3) and update as needed.
COMMUNICATIONS
Check that phones and internet are working.
Ensure lab contact list is saved where it can be remotely accessed by everyone in the lab. Include cell phone numbers.
Review lab databases to make sure you have access.
Ensure any new lab equipment is properly labeled per EH&S requirements
Review and update required lab signage, as needed.
RESEARCH MATERIALS
Update chemical inventory. Remove used items and receive orders into inventory.
Review analgesic and anesthesia drugs and label or discard expired items.
Check compressed gas cylinders. Reorder as needed.
Order dry ice &/or liquid nitrogen.
Back-up data generated off site.
Coordinate animal ordering with DCM.
Return empty animal cages and water bottles to DCM.
Restock PPE. Notify Department or Resource Management if PPE is not available.
Remake/refill necessary reagents and buffers.
Update radioactive material inventory, if needed.
EQUIPMENT AND PHYSICAL HAZARDS
Flush eye wash stations for 5 minutes or until water is clear. Record in Appendix 1 of Blue Book.
Check fire extinguishers and sign hang tag. If fire extinguisher needs replacement contact your Business Manager.
Check certifications on BSCs and laminar flow hood, balances, autoclaves, centrifuges.
Confirm that lab-housed isoflurane vaporizer certification dates are current.
Confirm fume hood is running and has been inspected in the last 12 months. Notify Facilities if fume hood is in alarm.
Check ice makers, cold rooms, warm rooms, refrigerators, -80s, and sinks. Notify Facilities if service is needed.
Contact Facilities to turn autoclaves back on, if applicable.
Verify detergent connection is hooked up to lab dishwashers.
Verify radiation survey meters are operational and have current calibration.
Calibrate pH meter.
Check Mili-Q water, in house DI or R/O water systems.
Follow manufacturer instructions and lab-specific procedures for re-energizing equipment.
Power up equipment slowly and one at a time to avoid overload of electrical circuits.
Test run equipment that it used daily before starting experiments, then test run equipment that are used less often.
Retest efficacy of equipment due to shut-down.
Check in house lines - gas, air, CO2, vacuum.
Check tubing and hoses that are attached to equipment and compressed cylinders.
Attach appropriate gas regulators to tanks.
Do compressed cylinders have pressure, are they leak tight, and properly secured?
Submit empty compressed cylinders for removal.
Verify flammable and hazardous chemical quantities and update chemical inventory if needed.
Check chemical storage areas. Are chemical containers in good condition (not leaking, rusty, bulging, no crystals on outside or inside caps, no cracked caps or containers)?
Check the condition of peroxide-forming chemicals and retest if needed.
Check oil on reactive metals.
Submit expired chemicals or chemicals in poor condition to EH&S.
Check dark room and levels of processing chemicals.
HOUSEKEEPING
Check cold room for mold growth and clean as needed.
Clean, wipe down, sanitize lab benches, BSCs, laminar flow cabinets, and fume hoods.
Perform baseline radiation area surveys and wipes to ensure absence of RAM contamination.
WASTE MANAGEMENT
Submit request for pickup of containers of unwanted material.
Seal and submit full biological waste.
Change pump oil and submit used oil to EH&S.
Close full glass waste and set out for housekeeping.
SECURITY
Verify inventory of controlled substances and return expired controlled substances to DCM.
Verify inventory of select agent toxins.
Verify radioactive materials are securely stored.
GENERAL AREA
Review secondary containers and labeling. Correct as needed. Replace damaged labels.
Launder dirty lab coats.
Run water through all drains to fill traps and check for leaks.
Please contact EH&S if you need assistance.